| # To: |  | YHI Aung (Myanmar) CO., LTD |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Customer Claim Questionary |  |  |  |  |  |
| Client | 78 Co.,ltd |  | Tel : | 09250496963 | Date : | 23 Oct 21 |
| Country : | Yangon |  | Fax : |  | Contact Person name | Hnin Pwint Htoo |
| Adress*: | No. 38,Min Gyi Mahar Mingaung Street, Shwe Than Lwin Industrial zone, Yangon Pathein High Way Road,Hlaing Tharyar T/S. |  | Email: | hninpwint.htoo@umgroups.com | Purchase Order No. : | SQ21-0142 |

| Description | Battery Model | 30XHS | Failed Qty | 2 | Installation Date | 13 Oct 21 |
| --- | --- | --- | --- | --- | --- | --- |
|  | Datecode |  | Total. Batteries (Qty) | 2 | Cyclic/Float | Cyclic |

| Install Operation Records | Charging voltage (Float charge) | 13.2V | Current Limited (Float charge) | 13A |
| --- | --- | --- | --- | --- |
|  | Charging voltage (Boost charge) |  | Current limited(Boost charge) |  |
|  | Discharge current |  | Total Discharge time |  |
|  | Cut-off Voltage | 12.7V | Ripple/Bias Current |  |
| Connection | Terminal (Flexible/Fastened) | Fastened | Connector(Flexible/Fastened) | Fastened |
|  | In series/In parallel | In Series |  |  |

| Physical Condition | Ventilated Room [OK /Not OK] | OK | Duration of power outage //Weekly |  |
| --- | --- | --- | --- | --- |
|  | Air-conditioned room [temp in ° C] | 22° C | Frequency of Power off/ Weekly |  |
|  | A/C Run time duration in a day | Always | Date of Battery Failure: | 13 Oct 21 |

Requirment&Opinion:

| Individual Battery Readings : |  |  |  |  |  | No. Of Batteries to Replace |  |  | 2 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Discharge current (Ampere) |  |  |  |  |  | Discharge power (Watts) |  |  | - |  |  |
| Batt No. | Battery code | Float Voltage | Impedance(mohm) | End Votage | Physical Condition | Batt.No. | Battery Code | Float Voltage | Impedance(mohm) | End Votage | Physical Condition |
| 1 | 30XHS | 13.2V |  | 12.7V |  | 1 | 30XHS | 26.54V |  | 25.86V |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | # Total |  |  |  |  |  |

## Remarks (Attached Photos):

YHI Aung (Myanmar)：WC21-10